## Sheet1
Gait Analysis Report
Parameters:
Date: | 1970-01-01 | Time: | 22:00:56 |  |  |  | HS = Heel-strike |  | slength = stride length |  | HSP = foot pitch angle at heel strike
Walker ID: | N/A | Shoe size (cm) | 30.000000 |  |  |  | gct = Gait cycle time |  | swidth = swing width |  | maxHC = Max. heel clearance
Age / Gender: | N/A | [5 empty] | swing = swing ratio |  | PathLength = 3D path length |  | maxTC1 = Max.1 toe clearance
Analysed file(s): | Z:\MegaInTech\Foot Roll Study (2023)\Data\P05 - Joel\Physilog\12RF2721.BIN Z:\MegaInTech\Foot Roll Study (2023)\Data\P05 - Joel\Physilog\08LF4205.BIN | [5 empty] | stance = stance ratio |  | speed = gait speed |  | minTC = Min. toe clearance
Remarks: | [6 empty] | cadence = cadence |  | TA = turning angle |  | maxTC2 = Max.2 toe clearance
[7 empty] | LDr = load ratio |  | peakswing = max. angular velocity during swing |  | mtcS = Foot speed norm at minimal toe clearance
Test Time (s) | 213.325 | Test Strides: | 112 |  |  |  | FFr = foot flat ratio
Analysed Gait Time (s) | 139.63 | Analysed Strides | 105 |  |  |  | PUr = Push ratio |  | TOP = foot pitch angle at toe-off
Turning Time (s) | 8.115 | Turning Strides | 3
Calibration start time (sec): | - | Calibration stop time (sec): | -
Analysis start time (sec): | - | Analysis stop time (sec): | -
Results generated by Gait Up LAB v1.1.1 . Gait Up Copyright © 2018-2024
|  | Parameter | HS_L | HS_R | gct_L | gct_R | cadence_L | cadence_R | stance_L | stance_R | swing_L | swing_R | LDr_L | LDr_R | FFr_L | FFr_R | PUr_L | PUr_R | DS_L | DS_R | slength_L | slength_R | speed_L | speed_R | peakswing_L | peakswing_R | mtcS_L | mtcS_R | TA_L | TA_R | HSP_L | HSP_R | TOP_L | TOP_R | swidth_L | swidth_R | PathLength_L | PathLength_R | maxHC_L | maxHC_R | maxTC1_L | maxTC1_R | minTC_L | minTC_R | maxTC2_L | maxTC2_R
|  | Unit | seconds | seconds | seconds | seconds | steps/minute | steps/minute | % of cycle duration | % of cycle duration | % of gait cycle | % of gait cycle | % of stance | % of stance | % of stance | % of stance | % of stance | % of stance | % of cycle duration | % of cycle duration | meters | meters | meters/s | meters/s | degree/s | degree/s | meters/s | meters/s | degree | degree | degree | degree | degree | degree | meters | meters | % of stride length | % of stride length | meters | meters | meters | meters | meters | meters | meters | meters
| OVERALL STATISTICS | Mean | 116.4434 | 117.042 | 1.2099 | 1.1878 | 100.8686 | 101.5255 | 63.5815 | 63.5333 | 36.4185 | 36.4667 | 8.8198 | 9.1805 | 62.6645 | 61.5951 | 28.5157 | 29.2244 | 26.8512 | 26.8512 | 1.0921 | 1.1056 | 0.96777 | 0.97411 | 366.9121 | 394.8856 | 3.1916 | 3.2071 | -0.035007 | 0.34065 | 30.0142 | 29.8859 | -64.1664 | -66.3804 | 0.035455 | -0.0526 | 111.7458 | 110.8045 | 0.30515 | 0.28856 | 0.071637 | 0.050169 | 0.038197 | 0.031595 | 0.17603 | 0.18438
|  | Median | 116.265 | 116.835 | 1.19 | 1.18 | 100.8403 | 101.6949 | 64.1129 | 63.7131 | 35.8871 | 36.2869 | 7.8014 | 8.7248 | 62.585 | 62.069 | 28.9474 | 28.8591 | 27.3913 | 27.3913 | 1.1052 | 1.105 | 0.97688 | 0.97057 | 363.4666 | 386.1452 | 3.1993 | 3.2273 | 0.1025 | 0.19075 | 28.3226 | 28.4205 | -64.7592 | -67.0297 | 0.03765 | -0.05416 | 110.4575 | 110.2374 | 0.30436 | 0.28896 | 0.068523 | 0.047581 | 0.03586 | 0.0311 | 0.16448 | 0.17959
|  | STD | 35.5408 | 35.5345 | 0.25259 | 0.08433 | 9.0477 | 7.2045 | 3.7804 | 2.3996 | 3.7804 | 2.3996 | 2.7238 | 2.1133 | 5.013 | 3.3891 | 3.9476 | 2.6433 | 3.6604 | 3.6604 | 0.096161 | 0.11799 | 0.12456 | 0.10235 | 37.4772 | 45.342 | 0.18741 | 0.18563 | 2.8461 | 2.9402 | 6.8392 | 8.1532 | 5.1118 | 5.1562 | 0.025276 | 0.022355 | 5.1959 | 4.0665 | 0.023984 | 0.024319 | 0.015558 | 0.01563 | 0.018093 | 0.011745 | 0.044508 | 0.047196
|  | IQR | 60.0263 | 60.0675 | 0.08625 | 0.0925 | 7.4199 | 7.966 | 4.3806 | 3.2699 | 4.3806 | 3.2699 | 3.2071 | 3.1833 | 4.3261 | 3.1812 | 4.4369 | 2.137 | 4.2338 | 4.2338 | 0.11001 | 0.1532 | 0.14386 | 0.11127 | 47.6112 | 42.1199 | 0.25358 | 0.2421 | 3.2315 | 3.7511 | 8.1209 | 9.7053 | 5.3345 | 4.4552 | 0.019779 | 0.026191 | 4.3675 | 5.2183 | 0.036703 | 0.024623 | 0.023666 | 0.018757 | 0.022937 | 0.01519 | 0.04967 | 0.06586
|  | Min | 54.46 | 55.17 | 0.955 | 0.875 | 32.6975 | 77.1704 | 54.3396 | 57.0881 | 16.485 | 30.6306 | 1.6313 | 5.7143 | 38.0531 | 45.3782 | 8.646 | 21.7687 | 16.9014 | 16.9014 | 0.8349 | 0.6432 | 0.39478 | 0.42673 | 248.9907 | 304.8855 | 2.4448 | 2.7879 | -8.9681 | -7.9053 | 15.0535 | 10.5326 | -80.7571 | -78.4496 | -0.049453 | -0.11088 | 105.1779 | 103.6598 | 0.24562 | 0.17122 | 0.043852 | 0.02526 | 0.0029469 | 0.0042162 | 0.085439 | 0.087841
|  | Max | 177.825 | 178.335 | 3.67 | 1.555 | 125.6545 | 137.1429 | 83.515 | 69.3694 | 45.6604 | 42.9119 | 17.6991 | 18.7097 | 89.7227 | 70.1493 | 44.2478 | 42.8571 | 34.0708 | 34.0708 | 1.3528 | 1.3999 | 1.3623 | 1.247 | 477.9914 | 549.2818 | 3.5945 | 3.6539 | 6.7414 | 9.3958 | 46.8345 | 48.6171 | -44.6989 | -34.6532 | 0.099043 | 0.040433 | 135.4764 | 123.5414 | 0.36696 | 0.37427 | 0.11049 | 0.11714 | 0.082357 | 0.062448 | 0.2827 | 0.32784
|  | CV (%) |  |  | 20.8773 | 7.0996 | 8.9698 | 7.0962 | 5.9457 | 3.7769 | 10.3804 | 6.5802 | 30.8828 | 23.0196 | 7.9997 | 5.5022 | 13.8434 | 9.0447 | 13.6323 | 13.6323 | 8.8049 | 10.6713 | 12.8704 | 10.5066 | 10.2142 | 11.4823 |  |  |  |  | 22.7865 | 27.281 | -7.9664 | -7.7677 |  |  | 4.6498 | 3.67
| Analysed cycle index | 5 | 54.46 | 55.17 | 3.67 | 1.555 | 32.6975 | 77.1704 | 83.515 | 67.8457 | 16.485 | 32.1543 | 1.6313 | 8.0569 | 89.7227 | 64.9289 | 8.646 | 27.0142 | 29.7872 | 29.7872 | 0.9869 | 1.016 | 0.39478 | 0.76727 | 276.1007 | 346.1553 | 2.5151 |  | -7.381 | 0.38194 | 24.7522 | 21.3401 | -58.2468 | -65.3485 | 0.060775 | -0.099773 | 120.2937 | 115.0135 | 0.29805 | 0.28463 | 0.063087 |  | 0.014611 |  | 0.14339
| (Turns in red) | 6 | 55.87 | 56.55 | 1.41 | 1.38 | 85.1064 | 86.9565 | 65.2482 | 63.0435 | 34.7518 | 36.9565 | 7.0652 | 6.8966 | 63.587 | 63.2184 | 29.3478 | 29.8851 | 25.8182 | 25.8182 | 1.0715 | 1.3305 | 0.82026 | 1.008 | 335.36 | 378.2358 | 2.9945 | 3.3687 | 2.5495 | -0.61525 | 24.7498 | 23.8234 | -64.627 | -67.7143 | 0.03607 | -0.081926 | 112.3956 | 106.1327 | 0.28619 | 0.31334 | 0.043852 | 0.065535 | 0.0029469 | 0.035236 | 0.14545 | 0.1625
|  | 7 | 57.245 | 57.955 | 1.375 | 1.405 | 87.2727 | 85.4093 | 62.9091 | 62.2776 | 37.0909 | 37.7224 | 5.7803 | 5.7143 | 64.7399 | 65.7143 | 29.4798 | 28.5714 | 27.6364 | 27.6364 | 1.1287 | 1.3541 | 0.84966 | 0.96612 | 368.3553 | 360.8695 | 3.0083 | 3.2793 | -4.4169 | 0.11469 | 26.7286 | 21.5782 | -64.3969 | -67.9878 | 0.038141 | -0.094211 | 114.495 | 105.1059 | 0.30747 | 0.2917 | 0.067341 | 0.044029 | 0.03227 | 0.024573 | 0.21088 | 0.14562
|  | 8 | 58.62 | 59.27 | 1.375 | 1.315 | 87.2727 | 91.2548 | 66.1818 | 66.1597 | 33.8182 | 33.8403 | 6.044 | 6.8966 | 67.033 | 62.069 | 26.9231 | 31.0345 | 31.8898 | 31.8898 | 1.2072 | 1.0317 | 0.90429 | 0.83296 | 334.9832 | 359.3517 | 3.1432 | 2.9405 | 5.4338 | -1.0744 | 25.1479 | 22.4198 | -62.5856 | -67.9937 | 0.070591 | -0.037947 | 107.2459 | 113.347 | 0.305 | 0.28896 | 0.066756 | 0.040317 | 0.019885 | 0.015007 | 0.14432 | 0.13507
|  | 9 | 59.89 | 60.515 | 1.27 | 1.245 | 94.4882 | 96.3855 | 66.9291 | 65.8635 | 33.0709 | 34.1365 | 7.6471 | 7.9268 | 65.8824 | 65.2439 | 26.4706 | 26.8293 | 28.2787 | 28.2787 | 1.1375 | 1.0097 | 0.90053 | 0.88991 | 346.9283 | 358.2428 | 3.1455 | 2.9679 | -1.4637 | 0.47713 | 26.4451 | 12.9791 | -61.6028 | -65.1398 | 0.052389 | -0.038207 | 106.2615 | 107.5794 | 0.30471 | 0.29456 | 0.069722 | 0.054568 | 0.01748 | 0.035223 | 0.14432 | 0.087841
|  | 10 | 61.11 | 61.75 | 1.22 | 1.235 | 98.3607 | 97.166 | 63.1148 | 65.1822 | 36.8852 | 34.8178 | 7.7922 | 6.2112 | 64.9351 | 62.7329 | 27.2727 | 31.0559 | 30.83 | 30.83 | 0.929 | 1.121 | 0.81798 | 0.92371 | 355.7806 | 353.927 |  | 3.0317 | 3.288 | 2.1647 | 21.3268 | 25.1228 | -63.9931 | -62.3304 | -0.019144 | -0.042455 | 109.4212 | 109.8148 | 0.2842 | 0.28015 |  | 0.047546 |  | 0.034103 |  | 0.16788
|  | 11 | 62.375 | 63.06 | 1.265 | 1.31 | 94.8617 | 91.6031 | 64.8221 | 61.0687 | 35.1779 | 38.9313 | 6.0976 | 7.5 | 64.0244 | 64.375 | 29.878 | 28.125 | 27.907 | 27.907 | 1.1514 | 1.2339 | 0.91863 | 0.99651 | 375.1429 | 375.3658 | 3.2202 | 3.1943 | -6.5308 | 0.62019 | 27.0017 | 26.4192 | -66.5662 | -68.2805 | 0.03765 | -0.070305 | 109.184 | 108.4357 | 0.3064 | 0.29027 | 0.061119 | 0.042336 | 0.020828 | 0.028293 | 0.15857 | 0.17894
|  | 12 | 63.665 | 64.335 | 1.29 | 1.275 | 93.0233 | 94.1176 | 67.4419 | 61.1765 | 32.5581 | 38.8235 | 6.3218 | 10.2564 | 64.9425 | 59.6154 | 28.7356 | 30.1282 | 16.9811 | 16.9811 | 1.1412 | 1.1861 | 0.9625 | 0.94056 | 318.5191 | 376.0161 | 3.2104 | 3.2708 | 0.79675 | 0.54988 | 28.3226 | 26.1527 | -65.5944 | -65.9989 | 0.047328 | -0.079026 | 109.9648 | 110.7719 | 0.29694 | 0.28304 | 0.056287 | 0.041943 | 0.022957 | 0.033001 | 0.1761 | 0.18265
|  | 13 | 64.99 | 65.6 | 1.325 | 1.265 | 90.566 | 94.8617 | 54.3396 | 64.8221 | 45.6604 | 35.1779 | 9.7222 | 9.7561 | 71.5278 | 60.3659 | 18.75 | 29.878 | 28.1746 | 28.1746 | 1.0826 | 1.0888 | 0.7696 | 0.88927 | 363.9988 | 427.4399 |  | 3.0313 | -2.0329 | -0.46938 | 34.6215 | 34.3706 | -67.9658 | -73.4577 | 0.099043 | -0.056918 | 113.6651 | 117.0141 | 0.32892 | 0.31338 |  | 0.05515 |  | 0.037812 |  | 0.2198
|  | 14 | 66.25 | 66.91 | 1.26 | 1.31 | 95.2381 | 91.6031 | 63.4921 | 62.9771 | 36.5079 | 37.0229 | 7.5 | 10.9091 | 61.875 | 60 | 30.625 | 29.0909 | 27.5862 | 27.5862 | 1.3327 | 1.3166 | 1.1779 | 1.0611 | 380.1668 | 370.5459 | 3.4132 | 3.3583 | 2.3388 | 0.68588 | 35.2344 | 35.1167 | -69.9035 | -69.5059 | 0.041014 | -0.039619 | 105.5432 | 105.5424 | 0.32123 | 0.29056 | 0.068623 | 0.044839 | 0.038972 | 0.028191 | 0.22621 | 0.23206
|  | 15 | 67.555 | 68.195 | 1.305 | 1.285 | 91.954 | 93.3852 | 64.751 | 63.8132 | 35.249 | 36.1868 | 8.8757 | 10.3659 | 63.3136 | 60.3659 | 27.8107 | 29.2683 | 28.0156 | 28.0156 | 1.1261 | 1.0638 | 0.92453 | 0.88243 | 341.278 | 382.5064 | 3.26 | 3.1936 | -0.42688 | -2.8285 | 33.0418 | 34.7364 | -70.8186 | -71.2419 | 0.033694 | -0.068138 | 112.2077 | 117.5301 | 0.34336 | 0.29953 | 0.090457 | 0.045578 | 0.038995 | 0.016149 | 0.2082 | 0.20959
|  | 16 | 68.84 | 69.49 | 1.285 | 1.295 | 93.3852 | 92.6641 | 64.2023 | 62.5483 | 35.7977 | 37.4517 | 7.2727 | 9.8765 | 64.2424 | 63.5802 | 28.4848 | 26.5432 | 26.25 | 26.25 | 1.2828 | 1.2204 | 0.98507 | 1.0873 | 335.7427 | 386.1452 | 3.3793 | 3.2891 | -1.8047 | -1.5051 | 33.4449 | 26.1382 | -66.1621 | -69.5126 | 0.052023 | -0.034179 | 107.6132 | 107.3397 | 0.29562 | 0.30544 | 0.051392 | 0.054864 | 0.0063782 | 0.027335 | 0.17944 | 0.1648
|  | 17 | 70.04 | 70.655 | 1.2 | 1.165 | 100 | 103.0043 | 66.6667 | 60.515 | 33.3333 | 39.485 | 8.75 | 7.8014 | 64.375 | 65.9574 | 26.875 | 26.2411 | 21.6327 | 21.6327 | 1.0554 | 1.1402 | 1.0155 | 0.87981 | 340.1826 | 370.5832 | 3.1102 | 3.0005 | 4.5837 | 2.3389 | 26.1292 | 34.8858 | -67.0634 | -56.9283 | 0.015051 | 0.040433 | 112.4662 | 110.2374 | 0.34153 | 0.25397 | 0.097231 | 0.037014 | 0.041616 | 0.02114 | 0.15903 | 0.22164
|  | 18 | 71.265 | 71.74 | 1.225 | 1.085 | 97.9592 | 110.5991 | 59.1837 | 69.1244 | 40.8163 | 30.8756 | 8.2759 | 10.6667 | 69.6552 | 64 | 22.069 | 25.3333 | 24.0838 | 24.0838 | 0.8547 | 0.96419 | 0.74359 | 1.1564 | 248.9907 | 329.2291 | 2.4448 |  | 0.25431 | 2.8173 | 21.624 | 33.5916 | -44.6989 | -34.6532 | 0.024311 | -0.027287 | 108.9065 | 106.5019 | 0.24562 | 0.17122 | 0.071824 |  | 0.057478 |  | 0.12537
|  | 19 | 72.22 | 72.765 | 0.955 | 1.025 | 125.6545 | 117.0732 | 59.1623 | 58.0488 | 40.8377 | 41.9512 | 17.6991 | 13.4454 | 38.0531 | 45.3782 | 44.2478 | 41.1765 | 26.7281 | 26.7281 | 1.0233 | 1.0862 | 1.0579 | 0.99453 | 386.1247 | 373.6276 | 3.099 |  | -5.3424 | 0.256 | 40.7299 | 33.4942 | -53.0933 | -64.667 | 0.027895 | -0.034813 | 116.126 | 107.9721 | 0.25004 | 0.25698 | 0.052452 |  | 0.044784 |  | 0.26492
|  | 20 | 73.305 | 73.95 | 1.085 | 1.185 | 110.5991 | 101.2658 | 66.3594 | 60.7595 | 33.6406 | 39.2405 | 8.3333 | 11.8056 | 59.0278 | 59.7222 | 32.6389 | 28.4722 | 26.6129 | 26.6129 | 1.055 | 1.1206 | 0.96459 | 0.87094 | 363.2376 | 338.8364 | 3.1614 | 2.8666 | 2.3089 | -0.89994 | 24.2598 | 32.8745 | -62.7379 | -60.0223 | 0.013846 | -0.04087 | 107.1652 | 108.9408 | 0.28034 | 0.25337 | 0.048079 | 0.026215 | 0.028878 | 0.024029 | 0.15116 | 0.21811
|  | 21 | 74.545 | 75.17 | 1.24 | 1.22 | 96.7742 | 98.3607 | 64.1129 | 62.7049 | 35.8871 | 37.2951 | 6.2893 | 6.5359 | 64.7799 | 62.7451 | 28.9308 | 30.719 | 26.1044 | 26.1044 | 1.1317 | 1.074 | 0.90337 | 0.97491 | 369.1331 | 353.5577 | 3.1476 | 2.9867 | 1.7552 | 0.012875 | 28.9869 | 28.4205 | -67.7066 | -67.7258 | 0.031829 | -0.039473 | 110.4659 | 111.7453 | 0.31449 | 0.2769 | 0.067959 | 0.035367 | 0.039509 | 0.029628 | 0.18605 | 0.20178
|  | 22 | 75.79 | 76.415 | 1.245 | 1.245 | 96.3855 | 96.3855 | 62.6506 | 63.8554 | 37.3494 | 36.1446 | 6.4103 | 7.5472 | 64.1026 | 62.8931 | 29.4872 | 29.5597 | 28.1513 | 28.1513 | 1.108 | 1.0704 | 1.0211 | 0.96273 | 336.4912 | 369.7048 | 3.0422 | 3.1648 | -0.66913 | 0.69038 | 30.9363 | 32.3304 | -65.6491 | -66.0732 | 0.038035 | -0.068484 | 109.5882 | 114.9236 | 0.31429 | 0.30841 | 0.075049 | 0.063405 | 0.042709 | 0.041189 | 0.19686 | 0.19905
|  | 23 | 76.98 | 77.595 | 1.19 | 1.18 | 100.8403 | 101.6949 | 65.9664 | 62.7119 | 34.0336 | 37.2881 | 7.6433 | 8.7838 | 62.4204 | 62.1622 | 29.9363 | 29.0541 | 28.5714 | 28.5714 | 1.0767 | 1.0507 | 0.90618 | 0.93946 | 360.3268 | 376.6965 | 3.1615 | 3.0627 | -2.6104 | -3.9976 | 24.9297 | 29.112 | -71.5645 | -68.3706 | 0.030484 | -0.059208 | 114.8277 | 110.8656 | 0.36326 | 0.281 | 0.11049 | 0.035607 | 0.049159 | 0.020921 | 0.15953 | 0.18729
|  | 24 | 78.24 | 78.795 | 1.26 | 1.2 | 95.2381 | 100 | 63.4921 | 66.25 | 36.5079 | 33.75 | 7.5 | 10.0629 | 61.875 | 59.7484 | 30.625 | 30.1887 | 30.7377 | 30.7377 | 1.1119 | 1.0047 | 0.99751 | 0.88698 | 338.5295 | 352.847 | 3.1709 | 3.066 | 0.91881 | 6.3786 | 23.611 | 23.2291 | -69.0638 | -67.3985 | 0.047283 | -0.10735 | 108.3503 | 117.2029 | 0.3195 | 0.28633 | 0.073359 | 0.040355 | 0.027295 | 0.023693 | 0.14698 | 0.14609
|  | 25 | 79.46 | 80.06 | 1.22 | 1.265 | 98.3607 | 94.8617 | 63.9344 | 65.2174 | 36.0656 | 34.7826 | 7.0513 | 10.303 | 63.4615 | 61.2121 | 29.4872 | 28.4848 | 28.9256 | 28.9256 | 1.0084 | 1.357 | 0.90966 | 1.1965 | 328.0533 | 461.1745 | 3.0664 | 3.5987 | -1.5264 | 3.4016 | 28.9683 | 37.6066 | -70.453 | -78.4496 | 0.046931 | -0.069312 | 121.188 | 106.5777 | 0.3491 | 0.32982 | 0.095119 | 0.068776 | 0.024592 | 0.033701 | 0.15528 | 0.22885
|  | 26 | 80.67 | 81.255 | 1.21 | 1.195 | 99.1736 | 100.4184 | 65.2893 | 65.272 | 34.7107 | 34.728 | 6.3291 | 10.8974 | 60.7595 | 61.5385 | 32.9114 | 27.5641 | 30.8943 | 30.8943 | 1.1906 | 1.1043 | 1.0949 | 0.92975 | 470.9695 | 432.1392 | 3.5945 | 3.0744 | 2.9228 | -1.5391 | 26.1858 | 36.7631 | -80.7571 | -68.5101 | 0.044496 | -0.064736 | 108.2401 | 111.2114 | 0.35076 | 0.29524 | 0.088936 | 0.04732 | 0.016072 | 0.040385 | 0.15901 | 0.22932
|  | 27 | 81.9 | 82.6 | 1.23 | 1.345 | 97.561 | 89.2193 | 64.6341 | 59.8513 | 35.3659 | 40.1487 | 8.805 | 9.9379 | 61.0063 | 63.354 | 30.1887 | 26.7081 | 26.5152 | 26.5152 | 1.1368 | 1.128 | 0.84144 | 0.95565 | 332.6037 | 328.9829 | 3.2696 | 3.0967 | -3.0529 | -3.7199 | 30.0582 | 35.5775 | -68.1871 | -62.3283 | 0.032012 | -0.11088 | 111.1736 | 116.288 | 0.34332 | 0.27881 | 0.092027 | 0.052722 | 0.025999 | 0.04174 | 0.15102 | 0.23934
|  | 28 | 83.22 | 83.81 | 1.32 | 1.21 | 90.9091 | 99.1736 | 67.4242 | 61.9835 | 32.5758 | 38.0165 | 6.1798 | 7.3333 | 67.4157 | 64.6667 | 26.4045 | 28 | 19.0476 | 19.0476 | 1.1068 | 1.2574 | 0.87458 | 1.0353 | 390.7815 | 362.85 | 3.2691 | 3.3456 | 2.0371 | -0.54506 | 33.0505 | 30.2478 | -64.9552 | -64.8689 | 0.042161 | -0.065201 | 110.5211 | 106.2835 | 0.33527 | 0.30938 | 0.090978 | 0.072436 | 0.055124 | 0.035341 | 0.19424 | 0.18159
|  | 29 | 84.375 | 84.95 | 1.155 | 1.14 | 103.8961 | 105.2632 | 58.8745 | 66.6667 | 41.1255 | 33.3333 | 11.7647 | 7.2368 | 63.2353 | 61.1842 | 25 | 31.5789 | 23.9496 | 23.9496 | 1.1476 | 1.085 | 1.0966 | 0.97204 | 350.0845 | 474.3085 | 3.2063 | 3.3181 | -2.8584 | 0.18663 | 30.2986 | 26.2994 | -57.1088 | -65.7779 | 0.041696 | -0.038622 | 109.7415 | 109.3643 | 0.27412 | 0.29165 | 0.055788 | 0.049454 | 0.027 | 0.037557 | 0.18293 | 0.1516
|  | 30 | 85.565 | 86.105 | 1.19 | 1.155 | 100.8403 | 103.8961 | 55.8824 | 67.0996 | 44.1176 | 32.9004 | 8.2707 | 6.4516 | 67.6692 | 64.5161 | 24.0602 | 29.0323 | 32.2727 | 32.2727 | 1.1261 | 0.99381 | 1.0156 | 0.90408 | 309.807 | 348.4224 |  | 3.0718 | 6.7283 | -3.0772 | 26.6166 | 17.3014 | -60.9544 | -61.8931 | 0.035166 | -0.025445 | 109.9786 | 107.2396 | 0.27459 | 0.27625 |  | 0.047581 |  | 0.035023 |  | 0.11654
|  | 31 | 86.665 | 87.235 | 1.1 | 1.13 | 109.0909 | 106.1947 | 66.8182 | 64.6018 | 33.1818 | 35.3982 | 9.5238 | 8.2192 | 63.2653 | 60.9589 | 27.2109 | 30.8219 | 32.2727 | 32.2727 | 1.0489 | 1.2365 | 0.84958 | 1.1077 | 335.47 | 382.535 | 3.2654 | 3.4386 | -1.8763 | 0.74063 | 24.4492 | 20.9192 | -52.33 | -69.6907 | 0.021363 | -0.040839 | 110.4575 | 104.1181 | 0.28792 | 0.29824 | 0.074681 | 0.050344 | 0.017376 | 0.026254 | 0.098437 | 0.13551
|  | 32 | 87.765 | 88.335 | 1.1 | 1.1 | 109.0909 | 109.0909 | 68.6364 | 64.5455 | 31.3636 | 35.4545 | 6.6225 | 7.0423 | 61.5894 | 64.7887 | 31.7881 | 28.169 | 28.7554 | 28.7554 | 1.0517 | 0.93236 | 1.1094 | 0.85363 | 386.317 | 375.3421 | 3.3414 | 3.0978 | 1.6471 | 2.5724 | 23.3005 | 31.8467 | -63.9893 | -64.8661 | 0.027097 | -0.029878 | 109.4735 | 119.0736 | 0.29852 | 0.28186 | 0.060431 | 0.044135 | 0.043562 | 0.021087 | 0.15332 | 0.20292
|  | 33 | 88.93 | 89.51 | 1.165 | 1.175 | 103.0043 | 102.1277 | 62.2318 | 64.2553 | 37.7682 | 35.7447 | 6.8966 | 10.596 | 64.8276 | 60.2649 | 28.2759 | 29.1391 | 29.1845 | 29.1845 | 1.2563 | 1.1162 | 1.0624 | 1.0205 | 391.0767 | 419.0429 | 3.38 | 3.1171 | -0.95775 | 1.7184 | 32.4575 | 35.914 | -61.3321 | -67.6719 | 0.028461 | -0.060509 | 106.2749 | 111.2594 | 0.29089 | 0.27123 | 0.073068 | 0.030825 | 0.035882 | 0.026664 | 0.19665 | 0.23167
|  | 34 | 90.095 | 90.685 | 1.165 | 1.175 | 103.0043 | 102.1277 | 65.2361 | 64.2553 | 34.7639 | 35.7447 | 8.5526 | 10.596 | 61.8421 | 61.5894 | 29.6053 | 27.8146 | 30.6667 | 30.6667 | 1.1058 | 0.9765 | 1.0416 | 0.86434 | 400.2447 | 362.4726 | 3.2376 | 3.1007 | -0.75994 | -1.9361 | 34.5671 | 30.2043 | -66.878 | -65.2887 | 0.042869 | -0.042942 | 109.3194 | 116.7801 | 0.30375 | 0.27086 | 0.060775 | 0.033511 | 0.039464 | 0.024555 | 0.20372 | 0.16858
|  | 35 | 91.22 | 91.845 | 1.125 | 1.16 | 106.6667 | 103.4483 | 68 | 61.6379 | 32 | 38.3621 | 9.8039 | 6.993 | 60.1307 | 63.6364 | 30.0654 | 29.3706 | 31.3808 | 31.3808 | 1.0636 | 1.2206 | 0.83998 | 1.0547 | 394.7839 | 347.1605 | 3.4111 | 3.1614 | 2.004 | -1.5834 | 23.2417 | 26.61 | -71.1433 | -63.6547 | 0.046344 | -0.056641 | 109.6679 | 104.7671 | 0.32443 | 0.27336 | 0.06765 | 0.037544 |  | 0.026239 | 0.085439 | 0.17179
|  | 36 | 92.415 | 93.01 | 1.195 | 1.165 | 100.4184 | 103.0043 | 68.6192 | 64.3777 | 31.3808 | 35.6223 | 6.0976 | 8 | 62.8049 | 64.6667 | 31.0976 | 27.3333 | 29.5154 | 29.5154 | 0.92611 | 0.9179 | 0.97688 | 0.97057 | 366.3685 | 395.4761 | 3.0379 | 2.7879 | 0.41344 | 3.6572 | 19.1867 | 27.4682 | -64.3888 | -61.0766 | 0.019945 | -0.035151 | 112.7058 | 115.0606 | 0.30236 | 0.27263 | 0.062637 | 0.045042 | 0.032716 | 0.042081 | 0.12695 | 0.1907
|  | 37 | 93.55 | 94.085 | 1.135 | 1.075 | 105.7269 | 111.6279 | 66.0793 | 67.4419 | 33.9207 | 32.5581 | 7.3333 | 8.9655 | 60.6667 | 61.3793 | 32 | 29.6552 | 33.4842 | 33.4842 | 0.99955 | 0.92649 | 0.80097 | 0.87738 | 362.0439 | 338.9274 | 2.9977 | 3.0365 | -1.9876 | 1.5006 | 24.474 | 18.959 | -64.8701 | -59.7509 | 0.063483 | -0.043034 | 108.9678 | 108.0598 | 0.30552 | 0.26114 | 0.063654 | 0.037107 | 0.035839 | 0.03187 | 0.1537 | 0.11754
|  | 38 | 94.655 | 95.22 | 1.105 | 1.135 | 108.5973 | 105.7269 | 65.1584 | 64.7577 | 34.8416 | 35.2423 | 6.9444 | 7.483 | 63.1944 | 61.9048 | 29.8611 | 30.6122 | 29.1845 | 29.1845 | 1.0486 | 1.0352 | 0.99824 | 0.84973 | 334.7498 | 351.1081 | 3.0675 | 3.135 | 1.6698 | -1.8931 | 27.1277 | 28.199 | -56.1107 | -67.0297 | -0.016495 | -0.03284 | 111.4347 | 112.175 | 0.27945 | 0.28263 | 0.065597 | 0.040735 | 0.056036 | 0.023391 | 0.17979 | 0.17683
|  | 39 | 95.82 | 96.39 | 1.165 | 1.17 | 103.0043 | 102.5641 | 63.5193 | 65.3846 | 36.4807 | 34.6154 | 6.7568 | 7.8431 | 63.5135 | 63.3987 | 29.7297 | 28.7582 | 20.6009 | 20.6009 | 1.1812 | 1.0488 | 1.3275 | 1.0046 | 333.1273 | 408.9377 | 3.2764 | 3.2775 | 0.513 | -0.099438 | 24.5457 | 30.634 | -65.4002 | -67.7171 | 0.029507 | -0.037289 | 107.8278 | 109.5873 | 0.27663 | 0.29451 | 0.049043 | 0.048709 | 0.03425 | 0.035853 | 0.17439 | 0.20134
|  | 40 | 96.985 | 97.56 | 1.165 | 1.17 | 103.0043 | 102.5641 | 55.3648 | 62.3932 | 44.6352 | 37.6068 | 7.7519 | 8.2192 | 68.2171 | 62.3288 | 24.031 | 29.4521 | 27.5556 | 27.5556 | 0.94691 | 1.132 | 0.831 | 0.95777 | 356.9458 | 354.2514 | 2.8799 | 3.1007 | 0.068438 | -7.2362 | 32.6679 | 29.4046 | -58.5187 | -63.767 | 0.070645 | -0.052584 | 128.7212 | 107.6779 | 0.30557 | 0.28255 | 0.080318 | 0.04862 | 0.037338 | 0.026302 | 0.15715 | 0.17826
|  | 41 | 98.11 | 98.68 | 1.125 | 1.12 | 106.6667 | 107.1429 | 66.6667 | 64.2857 | 33.3333 | 35.7143 | 8.6667 | 12.5 | 59.3333 | 60.4167 | 32 | 27.0833 | 31.3305 | 31.3305 | 0.99931 | 1.0712 | 0.96573 | 0.97505 | 346.3342 | 367.8466 | 3.2406 | 3.0757 | -4.2608 | 5.7893 | 27.5123 | 25.6134 | -62.998 | -59.3119 | 0.036255 | -0.018725 | 114.4771 | 109.0332 | 0.29623 | 0.27703 | 0.060221 | 0.059215 | 0.037043 | 0.048938 | 0.15436 | 0.17238
|  | 42 | 99.275 | 99.845 | 1.165 | 1.165 | 103.0043 | 103.0043 | 65.6652 | 65.6652 | 34.3348 | 34.3348 | 6.5359 | 12.4183 | 63.3987 | 58.8235 | 30.0654 | 28.7582 | 26.3393 | 26.3393 | 1.0375 | 1.2137 | 0.95654 | 1.1094 | 390.3136 | 407.9215 | 3.0758 | 3.5476 | 1.4691 | 1.5968 | 30.4699 | 25.7048 | -63.8646 | -70.9405 | 0.023674 | -0.037579 | 110.8342 | 105.5546 | 0.30842 | 0.29265 | 0.071535 | 0.040346 | 0.048116 | 0.025645 | 0.18798 | 0.16625
|  | 43 | 100.395 | 100.975 | 1.12 | 1.13 | 107.1429 | 106.1947 | 62.0536 | 61.5044 | 37.9464 | 38.4956 | 9.3525 | 7.1942 | 59.7122 | 60.4317 | 30.9353 | 32.3741 | 26.9565 | 26.9565 | 1.1207 | 1.0917 | 1.0336 | 0.96946 | 373.9919 | 391.2269 | 3.3212 | 3.2395 | 3.7691 | 0.94375 | 30.3966 | 26.9484 | -65.7013 | -66.9238 | 0.064931 | -0.064808 | 109.5265 | 111.7771 | 0.30024 | 0.29832 | 0.055695 | 0.051749 | 0.018972 | 0.027854 | 0.16534 | 0.16329
|  | 44 | 101.545 | 102.13 | 1.15 | 1.155 | 104.3478 | 103.8961 | 64.7826 | 65.368 | 35.2174 | 34.632 | 8.7248 | 8.6093 | 57.7181 | 63.5762 | 33.557 | 27.8146 | 28.9256 | 28.9256 | 1.138 | 1.0639 | 0.97191 | 0.96029 | 346.6689 | 417.601 | 3.2939 | 3.0826 | -1.6999 | 1.4884 | 20.9491 | 35.9061 | -64.063 | -68.286 | 0.050362 | -0.043267 | 105.5702 | 112.8035 | 0.30654 | 0.27675 | 0.066802 | 0.031654 | 0.032767 | 0.023532 | 0.12596 | 0.25016
|  | 45 | 102.755 | 103.35 | 1.21 | 1.22 | 99.1736 | 98.3607 | 61.9835 | 68.0328 | 38.0165 | 31.9672 | 6.6667 | 10.8434 | 62.6667 | 60.8434 | 30.6667 | 28.3133 | 30.4878 | 30.4878 | 1.1121 | 0.89486 | 1.038 | 0.90597 | 363.4666 | 390.2466 | 3.1166 | 2.9575 | 2.6843 | 0.38325 | 38.2951 | 28.8816 | -64.5598 | -69.5234 | 0.038767 | -0.057623 | 113.4227 | 120.6146 | 0.30352 | 0.31607 | 0.06857 | 0.064591 | 0.054226 | 0.045911 | 0.23665 | 0.18032
|  | 46 | 103.985 | 104.55 | 1.23 | 1.2 | 97.561 | 100 | 62.1951 | 65.8333 | 37.8049 | 34.1667 | 12.4183 | 11.3924 | 59.4771 | 57.5949 | 28.1046 | 31.0127 | 23.3184 | 23.3184 | 1.059 | 1.1773 | 0.85478 | 0.99242 | 313.3924 | 424.8835 | 3.0506 | 3.5389 | -1.2978 | 1.6426 | 32.2211 | 28.5486 | -58.8413 | -72.0446 | 0.050458 | -0.057969 | 117.5603 | 107.7605 | 0.32095 | 0.32185 | 0.096453 | 0.065453 | 0.045565 | 0.030281 | 0.18258 | 0.18009
|  | 47 | 105.1 | 105.67 | 1.115 | 1.12 | 107.6233 | 107.1429 | 60.0897 | 65.1786 | 39.9103 | 34.8214 | 7.4627 | 8.2192 | 67.1642 | 62.3288 | 25.3731 | 29.4521 | 31.1404 | 31.1404 | 1.0813 | 0.97525 | 1.1811 | 0.89068 | 386.7207 | 363.4659 | 3.1995 | 2.8749 | 0.23388 | 0.20206 | 27.2949 | 22.3001 | -61.3537 | -63.5767 | 0.032754 | -0.075786 | 109.4695 | 110.3461 | 0.27842 | 0.27491 | 0.053801 | 0.037797 | 0.028868 | 0.028127 | 0.17557 | 0.15057
|  | 48 | 106.24 | 106.835 | 1.14 | 1.165 | 105.2632 | 103.0043 | 65.3509 | 64.8069 | 34.6491 | 35.1931 | 8.7248 | 7.2848 | 61.745 | 64.2384 | 29.5302 | 28.4768 | 25.2252 | 25.2252 | 0.94116 | 1.1349 | 0.95368 | 1.0286 | 354.3781 | 382.1126 | 2.9537 | 3.1952 | 1.6834 | -0.756 | 21.9571 | 29.4062 | -61.3052 | -65.5112 | 0.03256 | -0.04694 | 117.3817 | 106.6831 | 0.33024 | 0.28071 | 0.1024 | 0.039319 | 0.040953 | 0.02622 | 0.13819 | 0.19056
|  | 49 | 107.35 | 107.945 | 1.11 | 1.11 | 108.1081 | 108.1081 | 62.1622 | 61.2613 | 37.8378 | 38.7387 | 7.2464 | 10.2941 | 66.6667 | 61.7647 | 26.087 | 27.9412 | 32 | 32 | 1.0435 | 0.85582 | 0.96335 | 0.77035 | 391.8376 | 328.3393 | 3.4376 | 2.796 | -5.6849 | -1.9897 | 24.2899 | 25.5201 | -70.3036 | -54.0054 | 0.038204 | -0.071724 | 109.7629 | 122.213 | 0.32677 | 0.24547 | 0.075461 | 0.032761 | 0.013182 | 0.0042162 | 0.12446 | 0.1118
|  | 50 | 108.475 | 109 | 1.125 | 1.055 | 106.6667 | 113.7441 | 70.2222 | 64.9289 | 29.7778 | 35.0711 | 6.962 | 7.2993 | 59.4937 | 63.5036 | 33.5443 | 29.1971 | 31.6514 | 31.6514 | 0.99504 | 0.96859 | 0.89361 | 1.1054 | 375.492 | 372.9785 | 3.542 |  | 0.28431 | 3.7389 | 20.9511 | 27.149 | -68.027 | -57.5776 | 0.012679 | -0.053483 | 112.133 | 109.3206 | 0.31331 | 0.23865 | 0.064103 |  | 0.020724 |  | 0.10296
|  | 51 | 109.565 | 110.155 | 1.09 | 1.155 | 110.0917 | 103.8961 | 65.5963 | 62.7706 | 34.4037 | 37.2294 | 6.993 | 7.5862 | 60.8392 | 62.7586 | 32.1678 | 29.6552 | 25 | 25 | 1.0467 | 1.0944 | 0.93916 | 1.0309 | 362.0534 | 367.8626 | 3.1799 | 3.2557 | 6.7414 | -1.5709 | 27.1772 | 27.2075 | -61.6466 | -68.6263 | 0.044185 | -0.058224 | 109.097 | 110.4758 | 0.28513 | 0.30709 | 0.056402 | 0.059671 | 0.03094 | 0.032684 | 0.16126 | 0.17449
|  | 52 | 110.705 | 111.24 | 1.14 | 1.085 | 105.2632 | 110.5991 | 62.7193 | 66.3594 | 37.2807 | 33.6406 | 6.993 | 8.3333 | 67.1329 | 61.1111 | 25.8741 | 30.5556 | 31.2217 | 31.2217 | 0.95028 | 0.96463 | 0.89282 | 0.80459 | 346.0909 | 383.6985 | 3.0644 | 3.18 | -1.0211 | 4.4587 | 23.0298 | 24.5737 | -62.9866 | -64.5184 | 0.03834 | -0.056765 | 112.126 | 113.5947 | 0.32542 | 0.29278 | 0.083395 | 0.048498 | 0.0372 | 0.016272 | 0.12657 | 0.12963
|  | 53 | 111.81 | 112.365 | 1.105 | 1.125 | 108.5973 | 106.6667 | 64.2534 | 66.6667 | 35.7466 | 33.3333 | 14.0845 | 7.3333 | 54.2254 | 63.3333 | 31.6901 | 29.3333 | 34.0708 | 34.0708 | 1.1978 | 1.0832 | 1.1646 | 0.98942 | 364.3253 | 357.9661 | 3.3302 | 3.1878 | -3.4825 | -7.9053 | 26.585 | 22.3421 | -62.8501 | -66.2751 | 0.039326 | -0.020143 | 105.1779 | 106.2361 | 0.28062 | 0.26862 | 0.049194 | 0.026435 | 0.030938 | 0.017717 | 0.17626 | 0.14244
|  | 54 | 112.94 | 113.67 | 1.13 | 1.305 | 106.1947 | 91.954 | 67.2566 | 57.0881 | 32.7434 | 42.9119 | 7.2368 | 8.7248 | 63.1579 | 63.0872 | 29.6053 | 28.1879 | 16.9014 | 16.9014 | 1.0017 | 0.9688 | 0.84745 | 0.96568 | 387.0722 | 364.8696 | 3.2743 |  | 2.9054 | 7.589 | 27.399 | 23.5543 | -61.7932 | -67.0628 | 0.050824 | -0.046728 | 112.6784 | 112.6938 | 0.29282 | 0.28415 | 0.056647 |  | 0.023353 |  | 0.14947
|  | 55 | 114.005 | 114.545 | 1.065 | 0.875 | 112.6761 | 137.1429 | 69.4836 | 60 | 30.5164 | 40 | 6.7568 | 9.5238 | 61.4865 | 47.619 | 31.7568 | 42.8571 | 26.8722 | 26.8722 | 0.95766 | 0.95462 | 0.91681 | 1.0464 | 415.7892 | 384.7498 | 3.0893 | 3.0292 | -1.1893 | 0.02125 | 23.7581 | 27.7159 | -63.4181 | -65.2798 | -0.032521 | -0.060144 | 111.6923 | 111.786 | 0.29692 | 0.26678 | 0.056906 | 0.02761 | 0.045761 | 0.017504 | 0.14752 | 0.17959
|  | 56 | 115.14 | 115.73 | 1.135 | 1.185 | 105.7269 | 101.2658 | 57.7093 | 64.135 | 42.2907 | 35.865 | 14.5038 | 7.2368 | 61.0687 | 62.5 | 24.4275 | 30.2632 | 21.3333 | 21.3333 | 1.0661 | 0.98703 | 1.0346 | 0.92766 | 347.5809 | 392.427 | 3.0241 | 3.2322 | 1.8806 | 2.7377 | 28.468 | 27.0853 | -55.6689 | -71.4243 | 0.038533 | -0.071512 | 113.7046 | 115.933 | 0.26092 | 0.31701 | 0.063028 | 0.063036 | 0.05155 | 0.035471 | 0.19338 | 0.17604
|  | 57 | 116.265 | 116.835 | 1.125 | 1.105 | 106.6667 | 108.5973 | 59.1111 | 64.2534 | 40.8889 | 35.7466 | 7.5188 | 7.0423 | 66.9173 | 64.7887 | 25.5639 | 28.169 | 30.131 | 30.131 | 1.1741 | 1.0303 | 1.3623 | 0.9234 | 326.4692 | 425.354 | 3.3438 | 3.3139 | 3.081 | -2.3654 | 22.8696 | 28.2117 | -63.3044 | -64.5485 | 0.033295 | -0.033638 | 105.2592 | 112.766 | 0.28775 | 0.28377 | 0.059703 | 0.047245 | 0.023655 | 0.034068 | 0.14444 | 0.18907
|  | 58 | 117.41 | 118.035 | 1.145 | 1.2 | 104.8035 | 100 | 64.6288 | 61.25 | 35.3712 | 38.75 | 7.4324 | 10.8844 | 61.4865 | 61.9048 | 31.0811 | 27.2109 | 21.5768 | 21.5768 | 0.87225 | 1.1296 | 0.80163 | 0.98044 | 367.0517 | 389.024 | 3.143 | 3.2423 | -0.67569 | -1.8623 | 27.4194 | 26.6593 | -68.3158 | -65.7728 | -0.049453 | -0.031774 | 135.4764 | 109.7024 | 0.32697 | 0.2927 | 0.080622 | 0.053599 | 0.014614 | 0.037213 | 0.12546 | 0.17024
|  | 59 | 118.615 | 119.175 | 1.205 | 1.14 | 99.5851 | 105.2632 | 60.166 | 64.0351 | 39.834 | 35.9649 | 6.8966 | 8.9041 | 64.8276 | 60.9589 | 28.2759 | 30.137 | 21.9298 | 21.9298 | 1.128 | 1.1124 | 1.0421 | 1.0552 | 367.9026 | 408.8898 | 3.3436 | 3.3762 | -4.9999 | 4.8212 | 28.6753 | 26.7273 | -68.5425 | -70.3425 | 0.058302 | -0.057031 | 111.9156 | 111.7702 | 0.32504 | 0.33569 | 0.076366 | 0.083054 | 0.044489 | 0.056033 | 0.18797 | 0.19171
|  | 60 | 119.755 | 120.32 | 1.14 | 1.145 | 105.2632 | 104.8035 | 57.8947 | 63.3188 | 42.1053 | 36.6812 | 11.3636 | 7.5862 | 63.6364 | 62.7586 | 25 | 29.6552 | 25.6522 | 25.6522 | 1.0968 | 1.0298 | 1.0585 | 0.92564 | 369.8137 | 386.2248 | 3.3057 | 3.2469 | 2.8206 | -7.0136 | 21.2105 | 20.474 | -68.1773 | -69.0656 | 0.034465 | -0.028958 | 106.7945 | 110.1091 | 0.29415 | 0.27184 | 0.047314 | 0.027479 |  |  | 0.11391 | 0.1145
|  | 61 | 120.905 | 121.445 | 1.15 | 1.125 | 104.3478 | 106.6667 | 62.1739 | 64.4444 | 37.8261 | 35.5556 | 8.3916 | 8.2759 | 61.5385 | 60.6897 | 30.0699 | 31.0345 | 26.7782 | 26.7782 | 0.94027 | 0.98119 | 0.93554 | 0.95391 | 348.0732 | 410.3474 | 3.1075 | 3.281 | -3.5988 | 9.3958 | 26.0752 | 30.0778 | -66.9577 | -69.5869 | 0.064186 | -0.07191 | 121.6898 | 121.6725 | 0.30023 | 0.30846 | 0.057493 | 0.060675 | 0.0088858 | 0.029385 | 0.14416 | 0.19617
|  | 62 | 122.1 | 122.73 | 1.195 | 1.285 | 100.4184 | 93.3852 | 60.251 | 64.9805 | 39.749 | 35.0195 | 8.3333 | 8.3832 | 59.0278 | 63.4731 | 32.6389 | 28.1437 | 29.0456 | 29.0456 | 1.0916 | 1.1451 | 0.9471 | 0.94715 | 343.3331 | 389.6843 | 2.9926 | 3.4293 | 1.5113 | -0.4085 | 31.4011 | 16.6967 | -64.2538 | -69.0755 | 0.083679 | -0.059623 | 113.2065 | 106.5307 | 0.30651 | 0.289 | 0.072236 | 0.039936 | 0.037056 | 0.016253 | 0.18955 | 0.099999
|  | 63 | 123.305 | 123.91 | 1.205 | 1.18 | 99.5851 | 101.6949 | 66.39 | 61.8644 | 33.61 | 38.1356 | 8.75 | 6.8493 | 61.875 | 63.0137 | 29.375 | 30.137 | 27.193 | 27.193 | 0.95298 | 1.1387 | 0.83979 | 1.0601 | 334.5816 | 404.8395 | 3.0606 | 3.4965 | 0.78188 | -3.5051 | 25.7579 | 23.5322 | -67.0803 | -72.0058 | -0.024239 | -0.086776 | 118.9959 | 110.7072 | 0.3253 | 0.31443 | 0.081485 | 0.061571 | 0.028305 | 0.030848 | 0.14797 | 0.14797
|  | 64 | 124.445 | 125.025 | 1.14 | 1.115 | 105.2632 | 107.6233 | 66.6667 | 61.435 | 33.3333 | 38.565 | 7.8947 | 7.2993 | 63.1579 | 62.7737 | 28.9474 | 29.927 | 28.0851 | 28.0851 | 1.1434 | 1.193 | 1.1065 | 1.0935 | 391.5697 | 394.111 | 3.5308 | 3.5061 | -0.6705 | 3.4879 | 25.0773 | 31.6843 | -64.9731 | -68.2092 | 0.047396 | -0.06065 | 108.3287 | 110.7489 | 0.293 | 0.27092 | 0.051538 | 0.02526 | 0.0064463 | 0.009723 | 0.13578 | 0.19367
|  | 65 | 125.62 | 126.225 | 1.175 | 1.2 | 102.1277 | 100 | 64.6809 | 62.0833 | 35.3191 | 37.9167 | 6.5789 | 9.396 | 62.5 | 63.0872 | 30.9211 | 27.5168 | 25 | 25 | 1.2057 | 1.1715 | 1.0456 | 1.0205 | 391.8392 | 370.0664 | 3.5324 | 3.4079 | -4.8616 | -1.7961 | 25.2921 | 27.9302 | -70.2174 | -64.9211 | 0.042283 | -0.068536 | 107.5807 | 107.543 | 0.337 | 0.2731 | 0.087533 | 0.036857 | 0.026808 | 0.015585 | 0.15549 | 0.17748
|  | 66 | 126.82 | 127.395 | 1.2 | 1.17 | 100 | 102.5641 | 62.9167 | 63.6752 | 37.0833 | 36.3248 | 6.6225 | 6.7114 | 62.9139 | 65.1007 | 30.4636 | 28.1879 | 27.3913 | 27.3913 | 1.112 | 0.9198 | 0.91617 | 0.83052 | 477.9914 | 376.7397 |  | 3.073 | -0.94963 | -1.1081 | 23.5135 | 25.8932 | -62.9809 | -64.9659 | 0.023756 | -0.061915 | 108.9743 | 118.3431 | 0.3047 | 0.28283 |  | 0.043817 |  | 0.018269 |  | 0.1526
|  | 67 | 127.97 | 128.495 | 1.15 | 1.1 | 104.3478 | 109.0909 | 64.3478 | 66.3636 | 35.6522 | 33.6364 | 6.7568 | 8.9041 | 64.1892 | 62.3288 | 29.0541 | 28.7671 | 26.4151 | 26.4151 | 0.9963 | 1.093 | 0.92401 | 1.065 | 363.319 | 387.911 | 3.1992 | 3.3994 | 0.46263 | 0.19075 | 23.8095 | 25.144 | -67.3996 | -65.4738 | 0.070886 | -0.054633 | 114.0379 | 107.6376 | 0.34893 | 0.27498 | 0.10068 | 0.033401 | 0.052514 | 0.012282 | 0.15056 | 0.14333
|  | 68 | 129.03 | 129.67 | 1.06 | 1.175 | 113.2075 | 102.1277 | 61.3208 | 60 | 38.6792 | 40 | 8.4615 | 7.0922 | 64.6154 | 65.9574 | 26.9231 | 26.9504 | 20.7627 | 20.7627 | 1.1052 | 1.1176 | 0.98238 | 0.9918 | 422.5404 | 370.1509 | 3.4504 | 2.992 | 4.6174 | -0.82575 | 23.9491 | 29.3624 | -69.4405 | -59.8108 | 0.036558 | -0.084955 | 107.1518 | 110.8922 | 0.327 | 0.27882 | 0.07352 | 0.053079 | 0.029356 | 0.030327 | 0.12291 | 0.18395
|  | 69 | 130.21 | 130.75 | 1.18 | 1.08 | 101.6949 | 111.1111 | 60.5932 | 66.2037 | 39.4068 | 33.7963 | 6.993 | 11.8881 | 69.9301 | 58.042 | 23.0769 | 30.0699 | 26.2673 | 26.2673 | 1.1526 | 1.0744 | 1.121 | 1.0441 | 362.2939 | 401.1333 |  | 3.3591 | -8.9681 | 1.3886 | 29.4583 | 22.8403 | -66.8553 | -69.8851 | 0.030836 | -0.016371 | 106.5798 | 109.6085 | 0.274 | 0.33123 |  | 0.082164 |  | 0.042703 |  | 0.15624
|  | 70 | 131.295 | 131.85 | 1.085 | 1.1 | 110.5991 | 109.0909 | 59.9078 | 65 | 40.0922 | 35 | 7.6923 | 7.6923 | 69.2308 | 63.6364 | 23.0769 | 28.6713 | 26.6667 | 26.6667 | 1.1102 | 1.0563 | 0.98496 | 0.95791 | 382.1431 | 364.5586 |  | 3.2543 | 4.0172 | 0.283 | 27.863 | 21.8668 | -66.4747 | -68.2137 | 0.03498 | -0.037802 | 108.87 | 109.4771 | 0.30199 | 0.30451 |  | 0.061682 |  | 0.031353 |  | 0.14273
|  | 71 | 132.42 | 132.985 | 1.125 | 1.135 | 106.6667 | 105.7269 | 60.8889 | 59.0308 | 39.1111 | 40.9692 | 7.2993 | 7.4627 | 66.4234 | 70.1493 | 26.2774 | 22.3881 | 23.7885 | 23.7885 | 1.1766 | 1.105 | 1.1488 | 1.0137 | 475.7146 | 478.0819 | 3.4242 | 3.2907 | 1.2165 | -0.44975 | 30.073 | 31.5496 | -66.694 | -73.8079 | 0.025966 | -0.036304 | 106.5164 | 109.9547 | 0.29619 | 0.31055 | 0.055946 | 0.057807 | 0.032952 | 0.023365 | 0.19279 | 0.20181
|  | 72 | 133.555 | 134.14 | 1.135 | 1.155 | 105.7269 | 103.8961 | 64.7577 | 63.6364 | 35.2423 | 36.3636 | 6.8027 | 13.6054 | 62.585 | 55.102 | 30.6122 | 31.2925 | 30.4545 | 30.4545 | 1.0997 | 1.112 | 0.98603 | 0.96689 | 398.8778 | 373.3842 | 3.1896 | 3.4723 | -1.8433 | 2.3479 | 25.3964 | 26.7351 | -71.6575 | -68.8922 | 0.058518 | -0.048669 | 109.8032 | 111.5836 | 0.33233 | 0.34074 | 0.079092 | 0.087554 | 0.028467 | 0.035123 | 0.14282 | 0.14887
|  | 73 | 134.655 | 135.26 | 1.1 | 1.12 | 109.0909 | 107.1429 | 68.6364 | 61.6071 | 31.3636 | 38.3929 | 7.2848 | 7.2464 | 62.2517 | 64.4928 | 30.4636 | 28.2609 | 23.0435 | 23.0435 | 1.0324 | 1.1389 | 1.0458 | 1.0942 | 425.2371 | 372.6795 | 3.406 | 3.2002 | 1.5582 | 1.14 | 29.1607 | 27.258 | -74.081 | -62.4984 | 0.023412 | -0.035564 | 113.4689 | 106.9534 | 0.36696 | 0.27103 | 0.10982 | 0.046619 | 0.07272 | 0.038428 | 0.18434 | 0.18068
|  | 74 | 135.805 | 136.405 | 1.15 | 1.145 | 104.3478 | 104.8035 | 60.4348 | 62.4454 | 39.5652 | 37.5546 | 12.2302 | 8.3916 | 62.5899 | 61.5385 | 25.1799 | 30.0699 | 27.7056 | 27.7056 | 0.8349 | 0.99946 | 0.77738 | 0.93437 | 382.2985 | 304.8855 | 2.9158 | 3.1667 | -0.45775 | 3.9744 | 29.5757 | 28.0829 | -65.7286 | -58.6031 | 0.027722 | -0.05742 | 124.1695 | 112.9552 | 0.2972 | 0.25733 | 0.058213 | 0.039699 | 0.033938 | 0.017848 | 0.14088 | 0.1727
|  | 75 | 136.96 | 137.535 | 1.155 | 1.13 | 103.8961 | 106.1947 | 64.9351 | 62.8319 | 35.0649 | 37.1681 | 7.3333 | 9.1549 | 62 | 59.1549 | 30.6667 | 31.6901 | 29.6137 | 29.6137 | 1.1475 | 1.1253 | 1.0602 | 0.95241 | 400.2031 | 451.1493 | 3.3611 | 3.1756 | -0.79806 | -2.5653 | 32.6366 | 32.769 | -70.0649 | -74.4309 | 0.043713 | -0.056944 | 108.5253 | 108.361 | 0.31608 | 0.32022 | 0.064482 | 0.063842 | 0.024865 | 0.048153 | 0.18934 | 0.21653
|  | 76 | 138.125 | 138.72 | 1.165 | 1.185 | 103.0043 | 101.2658 | 65.6652 | 63.7131 | 34.3348 | 36.2869 | 8.4967 | 10.596 | 62.0915 | 61.5894 | 29.4118 | 27.8146 | 23.1092 | 23.1092 | 1.1541 | 1.2035 | 1.0356 | 1.0667 | 393.949 | 387.6665 | 3.3665 | 3.5021 | 0.1025 | 4.094 | 30.0923 | 33.1128 | -66.791 | -66.7405 | 0.033453 | -0.050422 | 108.5458 | 110.8964 | 0.30365 | 0.31075 | 0.061518 | 0.06648 | 0.030912 | 0.047843 | 0.18113 | 0.22157
|  | 77 | 139.315 | 139.855 | 1.19 | 1.135 | 100.8403 | 105.7269 | 59.2437 | 65.6388 | 40.7563 | 34.3612 | 10.6383 | 8.7248 | 65.9574 | 63.7584 | 23.4043 | 27.5168 | 22.807 | 22.807 | 1.1237 | 1.0543 | 0.99338 | 1.0445 | 344.2663 | 396.2613 | 3.3392 | 3.3169 | 0.2185 | -2.6898 | 26.0551 | 26.0219 | -67.4823 | -68.4894 | 0.055391 | -0.060807 | 111.3407 | 109.4492 | 0.34016 | 0.29521 | 0.096519 | 0.048743 | 0.03554 | 0.038965 | 0.14985 | 0.17234
|  | 78 | 140.455 | 141.045 | 1.14 | 1.19 | 105.2632 | 100.8403 | 57.0175 | 64.7059 | 42.9825 | 35.2941 | 7.6923 | 9.7403 | 70 | 59.0909 | 22.3077 | 31.1688 | 24.7706 | 24.7706 | 1.0993 | 1.0003 | 1.0203 | 0.96687 | 331.0499 | 406.8168 | 3.131 | 3.4293 | 1.4601 | 3.9798 | 26.1557 | 16.5851 | -57.3201 | -67.8922 | 0.03162 | -0.072545 | 106.7094 | 113.1611 | 0.27495 | 0.3381 | 0.059559 | 0.088439 | 0.029311 | 0.047735 | 0.14907 | 0.1097
|  | 79 | 141.545 | 142.145 | 1.09 | 1.1 | 110.0917 | 109.0909 | 63.3028 | 58.1818 | 36.6972 | 41.8182 | 7.2464 | 7.8125 | 61.5942 | 57.8125 | 31.1594 | 34.375 | 25.431 | 25.431 | 1.0276 | 1.0192 | 0.8766 | 0.8993 | 377.0464 | 355.3122 | 3.2209 | 3.0406 | 1.9225 | -3.9132 | 28.0365 | 19.0345 | -65.7238 | -68.9385 | 0.022221 | -0.055763 | 110.6263 | 112.0932 | 0.3291 | 0.29128 | 0.084644 | 0.04727 | 0.037546 | 0.01544 | 0.16394 | 0.11511
|  | 80 | 142.705 | 143.3 | 1.16 | 1.155 | 103.4483 | 103.8961 | 65.0862 | 63.6364 | 34.9138 | 36.3636 | 6.6225 | 6.8027 | 68.2119 | 63.9456 | 25.1656 | 29.2517 | 29.1139 | 29.1139 | 1.0388 | 1.0783 | 0.95714 | 0.94788 | 305.724 | 410.0758 | 3.1335 | 3.2811 | -1.8381 | -2.6668 | 25.0603 | 18.304 | -51.8024 | -70.9766 | 0.061689 | -0.038747 | 112.6457 | 106.3503 | 0.26492 | 0.29787 | 0.067698 | 0.045741 | 0.042252 | 0.016869 | 0.15819 | 0.11108
|  | 81 | 143.89 | 144.455 | 1.185 | 1.155 | 101.2658 | 103.8961 | 64.557 | 64.9351 | 35.443 | 35.0649 | 6.5359 | 7.3333 | 62.7451 | 64 | 30.719 | 28.6667 | 27.3973 | 27.3973 | 0.89068 | 1.019 | 0.85843 | 0.97776 | 340.0327 | 336.0207 | 3.0531 | 3.049 | 1.0496 | 1.2778 | 15.0535 | 14.7976 | -65.0703 | -62.6942 | 0.036808 | -0.071226 | 109.4725 | 106.9294 | 0.3121 | 0.27723 | 0.070948 | 0.044765 | 0.021781 | 0.017585 | 0.09159 | 0.090453
|  | 82 | 144.985 | 145.555 | 1.095 | 1.1 | 109.589 | 109.0909 | 64.3836 | 62.7273 | 35.6164 | 37.2727 | 7.0922 | 7.2464 | 60.2837 | 57.2464 | 32.6241 | 35.5072 | 30.531 | 30.531 | 1.0633 | 1.1893 | 0.97524 | 1.0716 | 362.1149 | 406.2407 | 3.2727 | 3.5653 | -0.78144 | -0.845 | 25.8875 | 18.7805 | -61.7732 | -76.0293 | 0.044738 | -0.040611 | 112.4692 | 103.6598 | 0.3311 | 0.30563 | 0.098311 | 0.050778 | 0.043691 | 0.015084 | 0.16097 | 0.11724
|  | 83 | 146.115 | 146.725 | 1.13 | 1.17 | 106.1947 | 102.5641 | 66.8142 | 63.2479 | 33.1858 | 36.7521 | 7.947 | 6.7568 | 57.6159 | 64.1892 | 34.4371 | 29.0541 | 22.8216 | 22.8216 | 1.0257 | 1.1841 | 0.99083 | 0.92206 | 349.1532 | 373.9245 | 3.2197 | 3.2873 | 0.98688 | 2.3223 | 22.418 | 29.3462 | -62.6847 | -64.2696 | 0.034879 | -0.08515 | 108.9006 | 107.5255 | 0.30714 | 0.29796 | 0.074003 | 0.057938 | 0.025402 | 0.035038 | 0.13544 | 0.1783
|  | 84 | 147.32 | 147.905 | 1.205 | 1.18 | 99.5851 | 101.6949 | 58.5062 | 62.7119 | 41.4938 | 37.2881 | 7.8014 | 11.4865 | 66.6667 | 57.4324 | 25.5319 | 31.0811 | 27.8008 | 27.8008 | 1.1101 | 1.1743 | 0.86599 | 1.0023 | 353.1747 | 393.3935 | 3.3294 | 3.1071 | 1.6292 | 3.1658 | 31.5822 | 36.3764 | -64.8281 | -69.3494 | -0.021817 | -0.070653 | 118.9479 | 110.7927 | 0.32717 | 0.30379 | 0.085613 | 0.05488 | 0.018516 | 0.052051 | 0.16502 | 0.25438
|  | 85 | 148.525 | 149.14 | 1.205 | 1.235 | 99.5851 | 97.166 | 64.3154 | 64.7773 | 35.6846 | 35.2227 | 6.4516 | 7.5 | 60 | 64.375 | 33.5484 | 28.125 | 26.971 | 26.971 | 1.2224 | 1.0528 | 1.1489 | 0.97985 | 321.5775 | 364.4589 | 3.2307 | 2.8575 | -1.3488 | -0.78944 | 28.1007 | 35.1751 | -63.6564 | -67.4094 | 0.08552 | -0.044555 | 108.821 | 113.4315 | 0.28684 | 0.27013 | 0.052224 | 0.030191 | 0.027145 | 0.029222 | 0.17331 | 0.22514
|  | 86 | 149.73 | 150.39 | 1.205 | 1.25 | 99.5851 | 96 | 63.0705 | 61.2 | 36.9295 | 38.8 | 7.8947 | 11.1111 | 59.2105 | 60.7843 | 32.8947 | 28.1046 | 24.8031 | 24.8031 | 1.3528 | 1.2204 | 1.0219 | 0.94986 | 404.0018 | 458.5675 | 3.3666 | 3.316 | -0.34169 | 0.40188 | 42.5888 | 47.9253 | -67.2499 | -69.7396 | 0.044274 | -0.056551 | 106.6304 | 114.1518 | 0.33729 | 0.29789 | 0.095008 | 0.049859 | 0.079404 | 0.049692 | 0.26377 | 0.32784
|  | 87 | 151 | 151.59 | 1.27 | 1.2 | 94.4882 | 100 | 62.9921 | 64.1667 | 37.0079 | 35.8333 | 13.75 | 11.039 | 57.5 | 61.039 | 28.75 | 27.9221 | 27.3859 | 27.3859 | 1.1942 | 1.057 | 1.033 | 0.95911 | 403.616 | 549.2818 | 3.0954 |  | -0.83588 | 1.2474 | 45.3635 | 47.5758 | -60.5857 | -65.7837 | -0.032887 | -0.026691 | 112.9442 | 113.9661 | 0.26429 | 0.26643 | 0.05973 |  | 0.059096 |  | 0.26638
|  | 88 | 152.205 | 152.835 | 1.205 | 1.245 | 99.5851 | 96.3855 | 63.0705 | 61.8474 | 36.9295 | 38.1526 | 10.5263 | 12.3377 | 54.6053 | 59.0909 | 34.8684 | 28.5714 | 26.8 | 26.8 | 1.1459 | 1.1917 | 1.0077 | 1.0102 | 363.3479 | 383.1227 | 3.0875 |  | 0.99875 | -1.8474 | 40.5272 | 40.1652 | -62.741 | -58.9927 | 0.026806 | -0.063858 | 109.2371 | 111.8152 | 0.27113 | 0.26632 | 0.052618 |  | 0.049743 |  | 0.24542
|  | 89 | 153.455 | 154.015 | 1.25 | 1.18 | 96 | 101.6949 | 64.8 | 63.1356 | 35.2 | 36.8644 | 13.5802 | 12.7517 | 59.2593 | 58.3893 | 27.1605 | 28.8591 | 23.5772 | 23.5772 | 1.063 | 1.1973 | 0.79784 | 0.96495 | 447.0015 | 433.2898 | 2.9626 |  | 1.8179 | 1.7798 | 42.7979 | 46.237 | -64.1404 | -62.7513 | 0.013275 | -0.05416 | 108.5432 | 112.0728 | 0.29562 | 0.28305 | 0.065475 |  | 0.063947 |  | 0.23952
|  | 90 | 154.685 | 155.345 | 1.23 | 1.33 | 97.561 | 90.2256 | 58.9431 | 62.0301 | 41.0569 | 37.9699 | 8.2759 | 10.9091 | 59.3103 | 61.8182 | 32.4138 | 27.2727 | 19.9219 | 19.9219 | 1.2549 | 1.2472 | 1.0371 | 0.97358 | 312.8251 | 389.2912 | 2.9651 |  | -1.0752 | 6.44 | 42.3601 | 48.6171 | -59.747 | -64.5054 | 0.0663 | -0.055669 | 110.2548 | 116.7604 | 0.27615 | 0.28446 | 0.071827 |  | 0.068907 |  | 0.27491
|  | 91 | 155.965 | 156.615 | 1.28 | 1.27 | 93.75 | 94.4882 | 59.375 | 61.4173 | 40.625 | 38.5827 | 13.8158 | 10.2564 | 60.5263 | 58.9744 | 25.6579 | 30.7692 | 22.7451 | 22.7451 | 1.0774 | 1.2988 | 0.92427 | 1.0964 | 434.2307 | 477.7436 |  |  | -1.0416 | -2.4313 | 43.6181 | 48.3657 | -68.0488 | -64.7151 | 0.043574 | -0.048502 | 119.2067 | 107.9116 | 0.28547 | 0.25379
|  | 92 | 157.24 | 157.84 | 1.275 | 1.225 | 94.1176 | 97.9592 | 61.1765 | 64.4898 | 38.8235 | 35.5102 | 10.8974 | 9.4937 | 64.7436 | 63.2911 | 24.359 | 27.2152 | 27.8481 | 27.8481 | 1.0838 | 1.2573 | 0.97826 | 1.1071 | 369.206 | 541.8553 | 2.9709 |  | 3.4003 | -1.2876 | 40.6981 | 47.9875 | -62.441 | -68.2232 | 0.032782 | -0.054103 | 114.1294 | 109.3955 | 0.30725 | 0.26512 | 0.093156 |  | 0.081511 |  | 0.25933
|  | 93 | 158.425 | 159.045 | 1.185 | 1.205 | 101.2658 | 99.5851 | 64.557 | 64.3154 | 35.443 | 35.6846 | 11.7647 | 11.6129 | 58.8235 | 60.6452 | 29.4118 | 27.7419 | 27.5304 | 27.5304 | 1.0347 | 1.2432 | 0.83597 | 1.0128 | 410.9551 | 452.5568 | 3.0921 | 3.2749 | -0.035375 | 0.55925 | 44.458 | 44.5078 | -64.834 | -64.2897 | 0.073134 | -0.057716 | 122.6531 | 107.5295 | 0.32725 | 0.29606 | 0.091139 | 0.059 | 0.082357 | 0.055537 | 0.2827 | 0.27316
|  | 94 | 159.66 | 160.24 | 1.235 | 1.195 | 97.166 | 100.4184 | 62.3482 | 65.6904 | 37.6518 | 34.3096 | 15.5844 | 12.1019 | 57.1429 | 59.8726 | 27.2727 | 28.0255 | 28.75 | 28.75 | 1.209 | 1.1659 | 1.1411 | 1.0605 | 363.6071 | 486.558 |  | 3.4012 | -1.6016 | 2.4829 | 46.8345 | 41.9569 | -52.2593 | -75.0136 | -0.020505 | -0.039595 | 111.3633 | 110.5308 | 0.26238 | 0.29689 |  | 0.037566 |  | 0.021881 |  | 0.26464
|  | 95 | 160.86 | 161.445 | 1.2 | 1.205 | 100 | 99.5851 | 62.9167 | 66.39 | 37.0833 | 33.61 | 13.9073 | 11.25 | 52.9801 | 60.625 | 33.1126 | 28.125 | 27.2727 | 27.2727 | 1.1673 | 1.2757 | 1.0363 | 1.0412 | 388.0354 | 462.1262 | 3.0062 | 3.2926 | 1.6949 | -0.81506 | 40.2386 | 39.025 | -65.0898 | -65.949 | 0.012044 | -0.031722 | 109.3282 | 107.5264 | 0.30646 | 0.28795 | 0.079591 | 0.051577 | 0.079165 | 0.050644 | 0.26986 | 0.25718
|  | 96 | 162.07 | 162.685 | 1.21 | 1.24 | 99.1736 | 96.7742 | 60.7438 | 64.5161 | 39.2562 | 35.4839 | 13.6054 | 11.875 | 61.9048 | 62.5 | 24.4898 | 25.625 | 27.7551 | 27.7551 | 1.1841 | 1.1515 | 0.99453 | 0.92507 | 329.9679 | 407.9864 |  | 3.1512 | 1.4367 | -0.76631 | 42.0236 | 43.1101 | -55.9716 | -65.0284 | 0.018852 | -0.054563 | 111.0881 | 109.763 | 0.27657 | 0.27653 |  | 0.040102 |  | 0.036619 |  | 0.27489
|  | 97 | 163.295 | 163.865 | 1.225 | 1.18 | 97.9592 | 101.6949 | 63.6735 | 65.678 | 36.3265 | 34.322 | 14.7436 | 18.7097 | 56.4103 | 50.3226 | 28.8462 | 30.9677 | 29.6137 | 29.6137 | 1.142 | 1.0968 | 0.90328 | 1.0018 | 415.0609 | 417.1241 | 3.4493 | 3.2671 | -3.4048 | 0.13956 | 41.481 | 35.178 | -58.6686 | -64.4189 | 0.036162 | 0.023736 | 113.9971 | 108.687 | 0.31304 | 0.29002 | 0.090658 | 0.052226 | 0.055996 | 0.038976 | 0.23946 | 0.21332
|  | 98 | 164.46 | 165.085 | 1.165 | 1.22 | 103.0043 | 98.3607 | 64.3777 | 61.4754 | 35.6223 | 38.5246 | 10 | 10.6667 | 62 | 60.6667 | 28 | 28.6667 | 25 | 25 | 1.1934 | 1.2592 | 1.061 | 1.0275 | 337.354 | 403.0938 | 3.411 | 3.2362 | -0.4925 | 1.6474 | 37.1298 | 40.0353 | -57.2424 | -63.5943 | 0.016605 | -0.051999 | 107.168 | 106.7317 | 0.28699 | 0.27422 | 0.068476 | 0.042894 | 0.051604 | 0.036166 | 0.21906 | 0.25805
|  | 99 | 165.74 | 166.355 | 1.28 | 1.27 | 93.75 | 94.4882 | 61.7188 | 63.3858 | 38.2812 | 36.6142 | 11.3924 | 10.559 | 60.1266 | 59.6273 | 28.481 | 29.8137 | 25.2066 | 25.2066 | 1.2006 | 1.2525 | 1.0011 | 0.98786 | 349.5753 | 402.0348 | 3.1694 | 3.3029 | 1.0433 | -0.50775 | 32.7505 | 30.3333 | -62.365 | -67.1676 | 0.056118 | -0.051137 | 109.4274 | 106.4369 | 0.29629 | 0.30276 | 0.072048 | 0.071252 | 0.02356 | 0.062448 | 0.19675 | 0.20415
|  | 100 | 166.95 | 167.535 | 1.21 | 1.18 | 99.1736 | 101.6949 | 63.6364 | 66.1017 | 36.3636 | 33.8983 | 10.3896 | 8.3333 | 63.6364 | 63.4615 | 25.974 | 28.2051 | 31.9149 | 31.9149 | 1.1068 | 1.113 | 0.8868 | 0.95751 | 366.1571 | 495.6295 | 3.153 | 3.2205 | -0.10419 | -0.29419 | 39.6355 | 42.4496 | -57.5587 | -68.7318 | -0.032448 | -0.047879 | 110.7837 | 108.4921 | 0.29897 | 0.29072 | 0.088846 | 0.042591 | 0.070702 | 0.038722 | 0.23644 | 0.25488
|  | 101 | 168.125 | 168.74 | 1.175 | 1.205 | 102.1277 | 99.5851 | 65.9574 | 62.2407 | 34.0426 | 37.7593 | 14.8387 | 13.3333 | 56.7742 | 58.6667 | 28.3871 | 28 | 27.686 | 27.686 | 1.2242 | 1.1189 | 1.0679 | 0.93095 | 405.0885 | 390.3187 | 3.3164 | 3.2501 | 2.2659 | -4.2098 | 41.231 | 36.0629 | -64.7592 | -64.7687 | 0.038634 | -0.022815 | 110.9131 | 114.4447 | 0.30238 | 0.31792 | 0.06768 | 0.084035 | 0.066745 | 0.053679 | 0.26218 | 0.24311
|  | 102 | 169.335 | 169.96 | 1.21 | 1.22 | 99.1736 | 98.3607 | 65.2893 | 62.7049 | 34.7107 | 37.2951 | 13.2911 | 9.8039 | 58.8608 | 63.3987 | 27.8481 | 26.7974 | 28.0335 | 28.0335 | 1.0813 | 1.1833 | 0.98747 | 1.156 | 344.7744 | 428.6832 | 3.0555 | 3.2273 | -2.4871 | 4.9919 | 30.9845 | 35.4998 | -60.8823 | -65.0838 | 0.039904 | -0.050972 | 109.0974 | 109.1441 | 0.30436 | 0.28724 | 0.088719 | 0.050533 | 0.068718 | 0.039969 | 0.19481 | 0.23021
|  | 103 | 170.53 | 171.205 | 1.195 | 1.245 | 100.4184 | 96.3855 | 66.1088 | 59.8394 | 33.8912 | 40.1606 | 10.1266 | 8.7248 | 60.7595 | 63.0872 | 29.1139 | 28.1879 | 26.3158 | 26.3158 | 0.96024 | 1.0506 | 0.81042 | 0.82835 | 385.9341 | 386.0038 | 3.2171 | 2.9292 | -1.2852 | -2.2229 | 38.9535 | 28.6076 | -66.2554 | -64.309 | 0.044224 | -0.094537 | 129.9404 | 117.3087 | 0.33406 | 0.29975 | 0.089424 | 0.060567 | 0.074249 | 0.032812 | 0.23976 | 0.16872
|  | 104 | 171.765 | 172.34 | 1.235 | 1.135 | 97.166 | 105.7269 | 66.8016 | 63.4361 | 33.1984 | 36.5639 | 15.1515 | 8.3333 | 56.9697 | 58.3333 | 27.8788 | 33.3333 | 28.8703 | 28.8703 | 1.2008 | 1.1412 | 1.1101 | 1.064 | 405.1052 | 481.1193 | 3.229 | 3.2277 | 1.1678 | 2.9585 | 41.7744 | 39.1171 | -65.0778 | -72.0259 | 0.034328 | -0.05296 | 109.2284 | 108.9911 | 0.29364 | 0.29267 | 0.054498 | 0.039225 | 0.052318 | 0.025031 | 0.24375 | 0.24351
|  | 105 | 172.96 | 173.61 | 1.195 | 1.27 | 100.4184 | 94.4882 | 63.5983 | 57.874 | 36.4017 | 42.126 | 10.5263 | 10.2041 | 60.5263 | 68.0272 | 28.9474 | 21.7687 | 24.0816 | 24.0816 | 1.1638 | 1.1347 | 1.0451 | 0.86217 | 391.4992 | 405.9552 |  | 2.9557 | 1.4008 | 3.1103 | 42.8173 | 43.703 | -61.8092 | -67.2743 | 0.03363 | -0.057617 | 111.7597 | 111.7898 | 0.28351 | 0.28958 |  | 0.048576 |  | 0.047189 |  | 0.27819
|  | 106 | 174.185 | 174.82 | 1.225 | 1.21 | 97.9592 | 99.1736 | 67.7551 | 59.5041 | 32.2449 | 40.4959 | 11.4458 | 11.1111 | 62.0482 | 59.0278 | 26.506 | 29.8611 | 18.8525 | 18.8525 | 1.055 | 1.2499 | 0.99201 | 1.247 | 435.602 | 544.0255 | 3.3531 |  | -3.4921 | -1.0129 | 37.7395 | 44.0144 | -71.4638 | -68.6701 | 0.046294 | -0.079844 | 118.9879 | 111.7815 | 0.31656 | 0.27146 | 0.065236 |  | 0.047138 |  | 0.22472
|  | 107 | 175.405 | 176.03 | 1.22 | 1.21 | 98.3607 | 99.1736 | 59.0164 | 61.157 | 40.9836 | 38.843 | 10.4167 | 8.1081 | 65.2778 | 62.1622 | 24.3056 | 29.7297 | 20.4918 | 20.4918 | 1.1205 | 1.042 | 0.87711 | 0.95886 | 360.8497 | 383.9842 | 3.2436 |  | -4.0247 | -3.5266 | 31.0144 | 27.7229 | -66.864 | -68.7212 | 0.048454 | -0.067867 | 110.7343 | 113.4425 | 0.31986 | 0.29549 | 0.074437 |  | 0.029862 |  | 0.14982
|  | 108 | 176.625 | 177.225 | 1.22 | 1.195 | 98.3607 | 100.4184 | 59.0164 | 61.9247 | 40.9836 | 38.0753 | 9.0278 | 10.1351 | 67.3611 | 59.4595 | 23.6111 | 30.4054 | 19.1667 | 19.1667 | 1.1601 | 1.3999 | 0.96028 | 1.1044 | 363.9886 | 424.8205 |  | 3.6539 | 6.0282 | 4.8664 | 33.4427 | 27.715 | -67.6498 | -74.1144 | 0.058563 | -0.074845 | 108.9709 | 106.2818 | 0.31228 | 0.37427 |  | 0.11714 |  | 0.047441 |  | 0.16075
|  | 109 | 177.825 | 178.335 | 1.2 | 1.11 | 100 | 108.1081 | 57.0833 | 69.3694 | 42.9167 | 30.6306 | 7.2993 | 6.4935 | 67.1533 | 61.6883 | 25.5474 | 31.8182 | 32.7434 | 32.7434 | 1.0816 | 0.6432 | 0.98316 | 0.42673 | 344.3372 | 387.2175 | 3.1382 |  | 0.098688 | -1.6158 | 29.399 | 10.5326 | -62.6341 | -69.5908 | 0.060547 | -0.044125 | 114.6014 | 123.5414 | 0.2948 | 0.28508 | 0.061794 |  | 0.04373 |  | 0.19354